## Bid Schedule
SCHEDULE OF PRICES
S 1ST STREET AT ST. HELENS STREET INTERSECTION IMPROVEMENTS PROJECT NO. R-685
ITEM | DESCRIPTION | UNIT | TOTAL QUANTITY | UNIT PRICE | TOTAL COST
MOBILIZATION AND TRAFFIC CONTROL (00200)
1 | Mobilization (00210) | LS | 1 |  | 0
2 | Temporary Work Zone Traffic Control, Complete (00225) | LS | 1 |  | 0
3 | Stripe Removal (00225) | LS | 1 |  | 0
4 | Erosion Control (00280) | LS | 1 |  | 0
5 | Inlet Protection Type 3 (00280) | EA | 4 |  | 0
MOBILIZATION AND TRAFFIC CONTROL SUBTOTAL |  |  |  |  | 0
ROADWORK (00300)
6 | Construction Survey Work (00305) | LS | 1 |  | 0
7 | As-Built Survey (00305) | LS | 1 |  | 0
8 | Removal of Structures and Obstructions (00310) | LS | 1 |  | 0
9 | General Excavation (00330) | CY | 427 |  | 0
10 | Subgrade Geotextile (00350) | SY | 138 |  | 0
ROADWORK SUBTOTAL |  |  |  |  | 0
DRAINAGE AND SEWERS (00400)
11 | Mainline Video Inspection (00415) | LF | 85 |  | 0
12 | 10 Inch Ductile Iron Pipe, 5 ft Depth (00445) | LF | 85 |  | 0
13 | Concrete Manholes, Shallow (00470) | EA | 2 |  | 0
14 | Concrete Inlets, Typical 20"x24" Catch Basin (00470) | EA | 2 |  | 0
15 | Extra for Manholes Over Existing Sewers (00490) | EA | 2 |  | 0
DRAINAGE AND SEWERS SUBTOTAL |  |  |  |  | 0
STRUCTURES (00500)
16 | Seat Walls, End Columns, Standalone Columns (00596C) | LS | 1 |  | 0
17 | Planter Curbs (00596C) | LS | 1 |  | 0
BRIDGES SUBTOTAL |  |  |  |  | 0
BASES (00600)
18 | Cold Plane Pavement Removal, 0-2 inched Deep (00620) | SY | 856 |  | 0
19 | Aggregate Base (00640) | TON | 380.5422 |  | 0
BASES SUBTOTAL |  |  |  |  | 0
WEARING SURFACES (00700)
20 | Level 3, 1/2 inch ACP Mixture (00744) | TON | 133.3025 |  | 0
21 | Plain Concrete Pavement, Undowled, 6 Inches Thick (00756) | SY | 374 |  | 0
22 | Concrete Curbs, Standard 6" Curb (00759) | LF | 9 |  | 0
23 | Concrete Curbs, Standard Curb and Gutter (00759) | LF | 503 |  | 0
24 | Concrete Walks (00759) | SF | 6531 |  | 0
25 | Truncated Domes (00759) | SF | 72 |  | 0
26 | Concrete Driveways (00759) | SF | 477 |  | 0
27 | Unit Pavers (00760) | LF | 80 |  | 0
WEARING SURFACES SUBTOTAL |  |  |  |  | 0
PERMANENT TRAFFIC CONTROL AND GUIDANCE DEVICES (00800)
28 | Bi-Directional Blue Type IAR Markers, Recessed (0855) | EA | 1 |  | 0
29 | Thermoplastic, Extruded, Surface, Non-Profiled (00865) | LF | 3315 |  | 0
30 | Pavement Legend, Type B-HS: Bicycle Lane Stencil (00867) | EA | 8 |  | 0
31 | Pavement Bar, Type AB (00867) | SF | 330 |  | 0
PERMANENT TRAFFIC CONTROL AND GUIDANCE DEVICES SUBTOTAL |  |  |  |  | 0
PERMANENT TRAFFIC CONTROL AND ILLUMINATION SYSTEMS (00900)
32 | Remove Existing Signs (00905) | LS | 1 |  | 0
33 | Remove and Relocate Existing Signs (00905) | LS | 1 |  | 0
34 | Pipe Sign Supports (00930) | LS | 1 |  | 0
35 | Signs, Standard Sheeting, Sheet Aluminum (00940) | SF | 39 |  | 0
36 | Pole Foundations (00970) | LS | 1 |  | 0
37 | Lighting Poles, Fixed Base (00970) | LS | 1 |  | 0
38 | Luminaires, Lamps, and Ballasts (00970) | LS | 1 |  | 0
39 | Switching, Conduit, and Wiring (00970) | LS | 1 |  | 0
PERMANENT TRAFFIC CONTROL AND ILLUMINATION SYSTEMS SUBTOTAL |  |  |  |  | 0
RIGHT-OF-WAY DEVELOPMENT (01000)
40 | Soil Testing (01040) | EA | 1 |  | 0
41 | Topsoil (01040) | CY | 17 |  | 0
42 | Soil Conditioners (01040) | CY | 3 |  | 0
43 | 4" Pot Plant (01040) | EA | 28 |  | 0
44 | 1 Gallon Size Plant (01040) | EA | 159 |  | 0
45 | 2 Gallon Size Plant (01040) | EA | 17 |  | 0
46 | Bark Mulch (01040) | CY | 3 |  | 0
47 | Hanging Basket (01040) | EA | 4 |  | 0
48 | Bench (01095) | EA | 1 |  | 0
49 | Bike Rack (01095) | EA | 4 |  | 0
50 | Trash Receptacle (01095) | EA | 2 |  | 0
RIGHT-OF-WAY DEVELOPMENT SUBTOTAL |  |  |  |  | 0
WATER SUPPLY SYSTEMS (01100)
51 | Irrigation System (1120) | LS | 1 |  | 0
52 | Moving Existing Hydrants (01160) | LS | 1 |  | 0
53 | 1 Inch Water Service Connection Piping (01170) | LF | 35 |  | 0
54 | 1 Inch Water Meter Assembly (01170) | EA | 2 |  | 0
55 | Install Drinking Fountain (agency furnished) | EA | 1 |  | 0
RIGHT-OF-WAY DEVELOPMENT SUBTOTAL |  |  |  |  | 0
TOTAL CONSTRUCTION COST |  |  |  | 0